## Sheet1
2040 --> 80% RES + 70% CO2 reduction
| CEEP Limit | 15 | 10 | 5
PowerToHeat in District Heating | 2030 | 2% | 2% | 8%
| 2035 | 5% | 8% | 39%
| 2040 | 52% | 56% | 50%
[8 empty] | Power to Heat (district heating) |  |  | 80% RES 5pct CEEP | [6 empty] | CO2 only
CEEP Limit |  | 2040 --> 80% RES + 70% CO2 reduction |  |  | CO2 limit only |  |  | 80% RES only | CO2 only | RES + CO2 limit | *Investment | in | renewable | Energy* |  |  |  | *Investment | in | renewable | Energy* |  |  | *Investment | in | renewable | Energy*
|  | 15 | 10 | 5 | 5 | 10 | 15 | 5 | 5 | 5 | Year | 1 | 2 | 3 | SOLAR | Wind |  | Year | 1 | 2 | 3 | SOLAR | Wind | Year | 1 | 2 | 3 | SOLAR | Wind
PowerToHeat in District Heating | 2030 | 2% | 2% | 8% | 10% | 2% | 2% | 5% | 8% | 7% | Unit |  |  |  | 1418.93 | 3350.71 |  | Unit |  |  |  | 1682.76 | 2406.22 | Unit |  |  |  | 1512.79 | 3412.83
| 2035 | 5% | 8% | 39% | 33% | 4% | 4% | 7% | 20% | 24% | HR_SolarHigh | 589.98 | 0 | 192.54 |  |  |  | HR_SolarHigh | 683.4 | 251.1 | 194.57 |  |  | HR_SolarHigh | 603.32 | 28.94 | 258.21
| 2040 | 52% | 56% | 50% | 37% | 42% | 42% | 8% | 41% | 57% | HR_SolarPP | 636.41 | 0 | 0 |  |  |  | HR_SolarPP | 553.69 | 0 | 0 |  |  | HR_SolarPP | 622.32 | 0 | 0
[8 empty] | 461.83 | 461.83 |  | HR_WindPP | 727.01 | 135.9 | 100.93 |  |  |  | HR_WindPP | 638.54 | 0 | 0 |  |  | HR_WindPP | 725.26 | 157.53 | 92.96
[8 empty] | 485.38 | 485.38 |  | HR_WindPP1 | 663.24 | 70.88 | 97.77 |  |  |  | HR_WindPP1 | 664.85 | 0 | 0 |  |  | HR_WindPP1 | 665.47 | 77.65 | 124.94
[8 empty] | 510.14 | 510.14 |  | HR_WindPP2 | 762.19 | 57.5 | 288.23 |  |  |  | HR_WindPP2 | 815.68 | 26.29 | 0 |  |  | HR_WindPP2 | 758.87 | 71.65 | 312.55
[11 empty] | HR_WindPP3 | 344.17 | 102.89 | 0 |  |  |  | HR_WindPP3 | 260.86 | 0 | 0 |  |  | HR_WindPP3 | 340.9 | 85.05 | 0
[19 empty] | SOLAR | Wind
CEEP Limit |  | 2040 --> 80% RES + 70% CO2 reduction | [8 empty] | HR_SolarHigh | 217.38 | 0 | 0 | 0 | 0 | 86.4 | 565.76 | 1698.15 | 5478.24
|  | 15% CEEP | 10% CEEP | 5% CEEP | [6 empty] | HR_SolarPP | 787.14 | 41.47 | 0 | 0 | 0 | 0 | 0
PowerToHeat in District Heating | 2020 | 2% | 2% | 21% | [6 empty] | HR_WindPP | 736.49 | 178.68 | 746.41 | 101.08 | 31.91 | 0 | 0
| 2025 | 2% | 2% | 20% | [6 empty] | HR_WindPP1 | 619.9 | 123.74 | 206.42 | 84.48 | 145.29 | 9.09 | 0
| 2030 | 66% | 68% | 71% | [6 empty] | HR_WindPP2 | 744.93 | 107.75 | 98.38 | 111.62 | 149.41 | 216.26 | 8.12
| 2035 | 71% | 71% | 73% | [6 empty] | HR_WindPP3 | 365.78 | 139.27 | 498.49 | 54.74 | 0 | 0 | 0
| 2040 | 66% | 68% | 70%
| 2045 | 39% | 63% | 67%
| 2050 | 54% | 60% | 72%
H2 | 2020 | 57.73 | 57.73 | 57.73 | [6 empty] | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7
| 2025 | 230.91 | 230.91 | 230.91 | [6 empty] | Unit | [7 empty] | SOLAR | Wind
| 2030 | 461.83 | 473.58 | 496.87 | [6 empty] | HR_SolarHigh | 410.44 | 0 | 0 | 0 | 0 | 353.38 | 93.38 | 1737.92 | 5892.57
| 2035 | 485.38 | 497.32 | 521.19 | [6 empty] | HR_SolarPP | 797.26 | 0 | 0 | 0 | 83.46 | 0 | 0
| 2040 | 510.14 | 520.62 | 544.77 | [6 empty] | HR_WindPP | 921.22 | 211.64 | 914.2 | 31.3 | 0 | 0 | 0
| 2045 | 536.17 | 545.94 | 567.86 | [6 empty] | HR_WindPP1 | 816.96 | 201.23 | 86.12 | 215.44 | 13.49 | 0 | 0
| 2050 | 563.5 | 571.6 | 607.54 | [6 empty] | HR_WindPP2 | 942.92 | 61.05 | 0 | 135.79 | 262.26 | 0 | 0
FC | 2020 | 0 | 0 | 0 | [6 empty] | HR_WindPP3 | 319.57 | 177.43 | 581.95 | 0 | 0 | 0 | 0
| 2025 | 0 | 0 | 0
| 2030 | 0 | 7.64 | 22.78
| 2035 | 0 | 7.76 | 23.27 | [6 empty] | *Investment | 1: in; 2: renewable; 3: Energy*
| 2040 | 0 | 6.81 | 22.51 | [6 empty] | Year | 1 | 2 | 3 | 4 | 5 | 6 | 7
| 2045 | 0 | 6.35 | 20.6 | [6 empty] | Unit | [7 empty] | SOLAR | Wind
| 2050 | 0 | 5.26 | 28.62 | [6 empty] | HR_SolarHigh | 600.5 | 0 | 0 | 0 | 332.54 | 228.67 | 0 | 1806.58 | 6416.98
[11 empty] | HR_SolarPP | 644.87 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | HR_WindPP | 923.76 | 186.7 | 1223.28 | 0 | 0 | 0 | 0
[11 empty] | HR_WindPP1 | 806.21 | 167.86 | 428.11 | 104.59 | 0 | 0 | 0
[11 empty] | HR_WindPP2 | 927.61 | 130.44 | 16.3 | 307.46 | 31.84 | 0 | 0
[11 empty] | HR_WindPP3 | 294.67 | 167.27 | 700.88 | 0 | 0 | 0 | 0